Facility Map and Site Map Instructions

(Hazardous Materials Business Plan)

A Facility Map and a Site Map must be included with your HMBP. If you are concerned about displaying the storage locations of hazardous materials to the public, you must provide (2) facility maps. One map must contain the hazardous materials storage (confidential document) and one map without the hazardous material storage (public document). Since these drawings are intended for use in emergency response situations, larger facilities (generally those with complex and/or multiple buildings) should provide an overall site map and a separate facility map for each building/storage area.  One blank Facility Map and one blank Site Map sheet have been provided on the following pages along with some examples. You may complete that page or attach any other drawing(s) that contain(s) the information required below: Note: This is to be used in emergency situations so please take the time to prepare a complete and easily interpreted map.

1.  Site Map :  This drawing shall contain, at a minimum, the following information:

- An indication of North Direction;

- Approximate scale (e.g. “1 inch = 10 feet”.);

- Date the map was drawn;

- All streets bordering the facility;

- Locations of all buildings and other structures;

- Parking lots and internal roads;

- Hazardous materials loading/ unloading areas;

- Outside hazardous materials storage or use areas;

- Storm drain and sanitary sewer drain inlets;

- Wells for monitoring or underground tank systems;

- Primary and alternative evacuation routes, emergency exits, and primary and alternate staging areas.

2.  Facility Map:  The map(s) shall contain, at a minimum, the following information:

- General purpose of each section/area within each building (e.g. “Office Area”, “Manufacturing Area”, etc.);

- Location of each hazardous material/waste storage, dispensing, use, or handling area (e.g. individual underground tanks, aboveground tanks, storage rooms, paint booths, etc.);

- For tanks, the capacity limit in gallons and common name of the hazardous material contained in each tank;

- Entrances to and exits from each building and hazardous material or waste areas;

- Location of each utility emergency shut-off point (i.e. gas, water, electric);

- Location of each monitoring system control panel (e.g. underground tank monitoring, toxic gas monitoring, etc).

KEY TO BUSINESS EMERGENCY/CONTINGENCY PLAN MAP SYMBOLS

REFERENCE TO NORTH				          MATERIAL SAFETY DATA SHEETS

& BUSINESS EMERGENCY PLAN

INCLUDE ALL ADJACENT STREETS BY NAME

RAILROAD TRACKS

DRIVEWAY/GATE

S	SEWER

DOORS							STORM DRAIN

EMERGENCY RESPONSE EQUIPMENT

EVACUATION ROUTE				E	ELECTRIC METER

EVACUATION/STAGING AREA			E	ELECTRIC SHUTOFF

X    X	X	FENCE/BARRIERS					G	GAS METER

FIRE ALARM						G	GAS SHUTOFF

(		FIRST AID KIT					P	PUMP SHUTOFF

F		FIRE HOSE						W	WATER MAIN LINE GATE VALVE

F		FIRE EXTINGUISHER

FIRE HYDRANT					  A	ABOVE GROUND TANK

FLOOR DRAIN					 U	UNDERGROUND TANK

HAZARDOUS MATERIALS STORAGE

HAZARDOUS WASTE STORAGE

ADDITIONAL SYMBOLS:

| Symbol |  | Description |  | Symbol |  | Description |
| --- | --- | --- | --- | --- | --- | --- |

SITE MAP

|  | 1 | 2 | 3 | 4 | 5 | 6 |
| --- | --- | --- | --- | --- | --- | --- |
| A |  |  |  |  |  |  |
| B |  |  |  |  |  |  |
| C |  |  |  |  |  |  |
| D |  |  |  |  |  |  |
| E |  |  |  |  |  |  |
| F |  |  |  |  |  |  |
| G |  |  |  |  |  |  |

Site Name and Address:

Date:       	                                                            Scale:

FACILITY MAP

|  | 1 | 2 | 3 | 4 | 5 | 6 |
| --- | --- | --- | --- | --- | --- | --- |
| A |  |  |  |  |  |  |
| B |  |  |  |  |  |  |
| C |  |  |  |  |  |  |
| D |  |  |  |  |  |  |
| E |  |  |  |  |  |  |
| F |  |  |  |  |  |  |
| G |  |  |  |  |  |  |

Site Name and Address:

Date:       	                                                            Scale:

# Text boxes

MSDS

BEP

N

UTILITY CONNECTIONS/SHUTOFFS

ERE

E/S

FA

STORAGE TANKS

HMS

HWSWSHWS